HEALTH AND SAFETY POLICY

| Category: | Professional Centre - Administration |  | Date of Issue: | 01/01/16 |
| --- | --- | --- | --- | --- |
| Responsible Office: | Ministry of Education |  | Procedure Number: | N/A |
| Responsible Executive: | Director Professional Centre |  | Number of pages: | 04 |
| Reviewed by: | Directors of Professional Centre |  | Revision Date: | N/A |
| Approved by: | SIT Governing Board |  | Revision Number: | 00 |

- INTRODUCTION

It is a legal requirement that Seychelles Institute of Technology (SIT) maintains a safe and healthy working environment at all times during operation as well as after operation. In view of this, SIT shall ensure that:-

- Practice fire evacuations take place ANNUALLY

- ALL personnel are fully informed of, and trained in, the emergency evacuation procedures during induction into a department and annually thereafter.

- All fire escape routes be kept clear at all times.

- All escape routes and doorways be appropriately marked

- Fire evacuation plans are mounted in a prominent position in each area

- SIT has an assembly point

- Appropriate safety signs are posted at prominent locations

2.0	PROCEDURES IN THE EVENT OF A FIRE

The procedure shall be applicable to all persons on Campus

2.1 Procedure for sounding the alarm bell

2.1.1 In the event of a fire, the person(s) detecting the fire shall quickly direct to the nearest fire

alarm bell and continuously sound the bell manually using the handle

2.1.2 The Director and Health and Safety Officer at SIT shall be alerted immediately stating the

exact location of the fire.

2.1.3 The Director shall recommend to the Health and Safety Officer to dial 999 and report the

fire.

2.1.4 When the fire brigade arrives direct them to the fire location.

2.2 Procedures for Evacuation

2.2.1. Upon hearing the fire alarm bell (s), all personnel should evacuate the building (s)

immediately, by the nearest exit door and make their way in a quick and orderly manner,

to the evacuation assembly point.

2.2.2 The class lecturer (s) assisted by their programme leader will take the roll call to account

for every learners and staff in each department, while, the Office Manager

will take the roll call to account for all  Management and Support Staff .

2.2.4   Upon receiving clearance from Fire Brigade, Management/Health and Safety Officer will

allow staff and learners to return to the building(s).

2.3 Procedures for Security at the Gate

2.3.1 Upon sighting a fire, the security officer(s) on duty shall report the incident to the Office

Manager during   normal working hours.

Outside normal working hours and during weekends, the security officer shall call the director and report the fire incident.

2.3.2 The Security Officer shall receive instructions from the Office Manager/ Director as to

whether to dispatch a 999 call.

2.3.3 The Security Officer shall direct the fire brigades upon arrival on Campus, to the location.

of the fire, and if possible, provide appropriate information that may be enquired.

2.3.4 The Security shall direct traffic, leading to the entrance at the gate, which may hinder the

emergency service response otherwise.

Important! The Security Officer(s) on duty shall not hesitate to dispatch a 999 call in the event that a big fire with explosion is spotted

2.4 Procedures to Fight small Fires using Fire Extinguishers

2.4.1 Fire extinguishers shall be installed in well secured locations in the Administration block,

in classroom block and in the different workshops. They are mainly Dry Powder Fire

Extinguishers and CO2 Fire extinguishers.

2.4.2 Only staff trained to handle fire extinguishers should use them during a time of fire.

2.4.3 When fighting a fire, use proper extinguisher

Important! Fire extinguishers are never to be used for any purpose other than firfighting.

SEYCHELLES INSTITUTE OF TECHNOLOGY (SIT)

EMERGENCY PROCEDURES IN CASE OF A FIRE

IN CASE OF FIRE Leave the Area Immediately Close All Doors Behind you Notify Management, staff, learners, visitors and other person on site –Verbal Alarm

UPON HEARING THE FIRE ALARM Leave the Buildings using nearest fire exit Close All Doors behind you Walk Toward the Assembly Point. Remain Alert for Instructions! Roll Call will be carried out

FIRE DRILL-EVACUATION FORM

| Name of Roller Caller |  |
| --- | --- |
| Date: |  |
| Number fo personnel within SIT Buildings/premises |  |
| Number of personnel reaching evacuation point within 3 minutes |  |
| Comments/problems/Suggestions |